## Slide 1: IMAGE2LOC
Convert tiff images to simulated localisation data

## Slide 2
Click to load tiff file
Info from tiff for your benefit. Cannot alter.
Parameters for localisation
NN=XY nearest neighbour, usually 1 is sufficient
ZNN=Z axis nearest neighbour
Threshold=minimum intensity to discard when display/localise
min/max=use slider to change left panel image display range
Resolution=default resolution (shouldn’t change)
Slider to chose
C (Colour-channel)
Z (Z-slice)
F (Time-frame)
Title bar shows current file name
Panel for tiff intensity image
Panel for localised scatter image
Click to localise
Current selected Channel and Frame
Display current calculation progress
Click to clear localisation data for selected Channel and Frame
Export to csv file to be used
For localisation analysis

## Slide 3: LOCSUPRES
Localised super resolution cluster analysis

## Slide 4
Title bar shows current file name
Load raw csv file
Open saved localisation file
Save current localisation data
Figure toolbar
Sort cluster table with respect to selected column
Cluster information table
Select probe
Scatter plot
Probe
Rendered surface plot
Clear/Hold scatter plot
Select analysis function
Scatter plot Panel
cluster plot Panel
Click to apply analysis function
Clear/Hold cluster plot
Analysis parameters table